From:	AUVAX::SE%"BROWN@nflett.UU.SE" 27-MAR-1989 05:17

To:	SNYDER@CERAMICS.BITNET

Subj:	LAZY DOCUMENTATION

Received: From SEMAX51(MAILER) by CERAMICS with Jnet id 5894

for SNYDER@CERAMICS; Mon, 27 Mar 89 05:13 EDT

Date: Mon, 27 Mar 89 12:12 +0100

From: BROWN@nflett.UU.SE

Subject: LAZY DOCUMENTATION

To: SNYDER@CERAMICS.BITNET

X-VMS-To: BMC1::IN%"SNYDER@CERAMICS"

Documentation for:

PROGRAM SUITE: SETUP/LAZY/PULVX

Allan Brown,

Studsvik Nuclear,

S-611 44 Nykping,

Sweden.

January 7, 1989

The program suite, SETUP/LAZY/PULVX is organized for the

preparation of a file of powder intensities, Miller indices and

2*theta, sinsquare theta and d-spacings on an IBM PC/XT/AT or

clone. It is organized to be run in two parts. SETUP prepares the

data and the batch program LAZYP sees to the running of the

calculation.

The basis of the suite is LAZY PULVERIX from 1977 by Yvon,

Jeitschko and Parth. There are significant changes and

limitations in output, however, of which it is as well to be

prepared.

# The width of the output list is reduced to 80 cols so that

the printout can be accommodated on A4-width paper for

easy filing.

# As a result of this limitation only the data absolutely

essential to a calculated pattern are stored. Additional

information of the type phase angle and the A and B

components of the structure factor can be obtained by

running the original PULVERIX program on a CDC, VAX or

other mainframe.

# Only one type of result list is prepared. In PULVERIX, the

output gives distances in mm for the positions of powder

lines on film from cameras of different radius. These

distances are not listed here.

# In accordance with the format used by JCPDS for listing

powder data the maximum intensity is set at 100, rather

than 1000 as in PULVERIX. The intensities are scaled to

this value and expressed 2 decimals.

# The calculation of theoretical profile half-widths, based

on a Gaussian distribution and practiced in PULVERIX, is

not made here. In the current version the preparation of a

graphical plot of the pattern is also omitted. This will

be restored in a later version. Have patience!

# To take into account the effect of overlap the intensities

are added together if the difference between 2*theta is

less than 0.06 degrees. A variable window will be added at

a later date to allow for more individual broadening of

powder lines as seen by different instruments. It should

be noted that if there is a sequence of lines, in which

each is less than 0.06 degrees from the next, then all

intensities are summed to make one single integrated

reflection. The individual contributions can always be

worked out, from the values of F**2 and multiplicity if

this should prove necessary.

# LAZY PULVERIX was initially written for batch operation

with punched cards. LAZY, the first stage in the

calculation, therefore insists on having the input data

set up in a card image with a very specific format. This

can be a trial avoided here by adding the program SETUP

to the collection. This program asks all the necessary

questions and sets up the data in the required format in

the file LAZY.DAT.

# After running SETUP just run the batch file LAZYP. This

erases all the redundant files from the previous run,

feeds LAZY with LAZY.DAT, runs LAZY, takes the file from

there and feeds it to PULVX which does the calculation.

The output is stored in PULVX.OUT. Since PULVX.OUT is

erased when LAZYP is re-run this file should be renamed

if the result is so valuable that you feel you need to

save it for posterity. The input file, LAZY.DAT, is not

automatically erased after each run. This allows small

changes to be made using an editor after which a new

calculation can be carried through. You must therefore

DELETE the file LAZY.DAT before rerunning SETUP.

# Just to keep the record straight the original

instructions to LAZY PULVERIX, as given in 1977 and,

included here as PULVERIX.DOC, should be consulted. Just

remember that these refer to the unadapted version and

don't believe all you read.