DOCUMENTATION FOR PROGRAM CMPR

Program CMPR is used to perform operations that compare

diffractograms: operations such as plotting, addition/subtraction and

simulation of patterns from JCPDS data.

===> COMMAND  ADD

Used to add two files. The file numbers can be entered on

the command line or can prompted. File numbers may be separated by

either spaces or commas (or both).

ADD 2 4    is equivalent to

ADD 2,4

---  Qualifiers

/TITLE="file_title"

This option is used to specify a title line for the the new file

/SCALE=scale_factor

The intensities in second file will be multiplied by scale_factor.

The scale_factor need not be an integer, but should be greater than

zero.

/OFFSET=offset_val

A fixed offset can be added (offset_val greater than zero) or

subtracted (offset_val less than zero) to the resultant

diffractogram after the two files are added. offset_val will

be added to each point; offset_val may be a floating point number.

If /MINIMUM is used with /OFFSET, the offset, offset_val,

is added after subtracting the minimum intensity from all points,

thus if the command SUB/MIN/OFF=100  is used, the lowest

intensity point in the pattern will have an intensity of 100.

/MINIMUM

Subtracts the intensity of the least intense point from all points

in the diffractogram.

===> COMMAND  ATTRIBUTES

This command is used to set the plot attributes which define how a

diffractogram is plotted. The files to be affected may be included on

the command line or may be input with a prompt. If more than one file

is specified, the attributes for all specified files will be set to

the same values.

---  Qualifiers

/COLOR=color

Sets the color for the plot. The number of colors available is

determined by the graphics device (see the PGPLOT documentation). Color 0

corresponds to the background (producing an invisible plot).

Numbers less than 0 or greater than 255 should not be used.

/WIDTH=width

The line width to be used for plotting the diffractogram and/or the peak

positions. A width of 1 is the usual default, but thicker lines may be

specified by using larger numbers. Numbers less than 1 should not be used.

/LINE=line_type

Determines the type of line used for plotting the diffractogram intensity

versus angle data. line_type of 1 produces a single connecting line.

/LINE=2 through /LINE=5 produce dashed, dot-dashed, dotted and

dot-dot-dashed lines, respectively. /LINE=6 puts dots at each

data point (this is not exactly the same as a dotted line.) A line type

of 0 indicates that the diffractogram data is not to be plotted.

Numbers less than 0 or greater than 6 should not be used.

/PEAK=peak_type

Determines the type of line used for plotting the peak position data.

Ignored for files that do not have peaks. A peak_type of 1 produces a

single straight line for each peak.  Types of 2 through 5 produce

dashed, dot-dashed, dotted and dot-dot-dashed lines, respectively.

A peak type of 0 indicates that the peaks are not to be plotted.

If 8 is added to the peak type, the intensity is considered arbitrary

and will be plotted full scale.

Numbers less than 0 or greater than 14 should not be used.

/OFFSET=off_value

Specifies an offset to be added to the data when the data is plotted.

The value is a floating point number which may be positive or negative.

/MAGNIFICATION=mag_value

Specifies a magnification factor for the data for plotting.

The value is a floating point number which may be greater than or less than

one.

/ALL

Sets the specified attributes for all files.

---  Examples

ATT 1 2 3

Sets the attributes for files 1, 2 and 3. The

values for the attributes will be requested

using prompted input.

ATT

As before except the file numbers will also be

prompted for.

ATTR/COLOR=2  4,3

Resets the color for files 3 and 4 to color

type #2 (actual color is device dependant,

usually red).

ATTR/ALL/C=1

Resets the color for all files the default color.

===> COMMAND  COMBINE

Used to combine two or more files into one file.  The file numbers can

be entered on the command line or can be prompted.  File numbers may be

separated by spaces or commas or both.

Command format: COMBINE [file_list]

---  Parameter

file_list

File numbers may be specified on the command line separated by

commas or spaces.

If no files are placed on the command line, a prompt will be

generated for file numbers.

===> COMMAND  DCL

Spawns a subprocess to execute DCL commands, type LOGOUT to

return back to CMPR without affecting the current list of files.

This command is useful for quick DCL "errands" such as answering

a mail message without exiting the program.

===> COMMAND  DEFAULT

This program can operate in two modes, AUTO mode and MANUAL mode. In

AUTO mode, default values are used where possible to cut down on the

amount of questions the need to answered. In MANUAL mode, if a

parameter is not specified on the command line, a prompt will be

generated for an option or value. The current mode is listed on the

top of the screen.

Command qualifiers always override default options. For example,

in AUTO mode command WRITE/NBS produces a file in NBS format,

while WRITE defaults to /BINARY. In MANUAL mode, the latter

command would generate a prompt requesting a choice for file format.

The mode can be toggled by entering the DEFAULT command without any

qualifiers. Alternately, a qualifier may be used:

DEF/MAN  	(sets the mode to MANUAL)

DEFAULT/A	(sets the mode to AUTO)

DEF      	(sets the mode to the opposite of the current mode)

---  Qualifiers

/AUTO

/NOMANUAL

If either of these qualifiers are used, the mode is set

to AUTO. Thus, default values will be used for options

(where possible) to reduce the number of prompts.

(/NOMANUAL is equivalent to /AUTO)

/MANUAL

/NOAUTO

If either of these qualifiers are used, the mode is set

to MANUAL. Thus, the program will prompt rather than

using default option(s).

(/MANUAL is equivalent to /NOAUTO)

===> COMMAND  DELETE

Used to remove a "file" from the list of available files. This will not

delete the file from disk storage (unless it was created in CMPR and

never actually written on disk). Only one file can be removed at a

time and file number 1 can only be removed with the the DELETE/ALL

command -- which removes all files (equivalent to starting a new CMPR

run).

usage:

DELETE [file_number]    or

DEL/ALL

---  Parameter

file_number

The number of a single file to be removed may be specified on the

command line. If the file number is not specified a prompt will be

given requesting a file number. The file number must be in the range of

2 to 10. No file number may be specified if /ALL is used.

---  Qualifier

/ALL

Removes all files (equivalent to starting a new session). When

running interactively, a prompt will be generated for new file names

to read. No file numbers can be specified if /ALL is specified.

===> COMMAND  DGEN

Computes the allowed d-spaces for a given unit cell optionally omitting

reflections extinct by translation symmetry. Must be run interactively.

---  Qualifier

/A=a_length

/B=b_length

/C=c_length

/ALPHA=bc_angle

/BETA=ac_angle

/GAMMA=ab_angle

Defines the unit cell lengths in Angstroms and the angles in degrees

for the d-space generation.

If a_length is not specified, values for the cell Laue symmetry and

then all appropriate unit cell parameters will be requested.

If b_length and/or c_length are not specified, they default to

a_length. Any angles that are not specified default to 90 degrees.

===> COMMAND  EXIT

Type EXIT (which can be abbreviated to E) to exit; alternately

press Control Z (^Z) to exit the program. After exiting, you will

be prompted to write any files that have been modified or created

within the program.

===> COMMAND  FILE

Allows a series of commands to be input to the program from an external

file. The file should be prepared before starting the program, or using

the DCL command to invoke an editor.

---  Parameter

file_name

A single file may be specified on the command line containing the name

of the file with commands. If the file is not specified, a prompt will be

given to request a file name.

If no file extension is supplied, the default extension is .CMD

===> COMMAND  HKLPLOT

Used to label hkl values and show which peaks would be expected to

become extinct for a give set of symmetry elements.

A symmetry operation is supplied to the program and reflections

from the file are displayed in one of three colors (or line styles

if the graphics device is incapable of displaying color graphics).

The basic color is used for peaks that would not be extinct, the second

color is used for peaks that would be extinct. A third color is used

for peaks that would be overlapped.

If raw data is in the diffractogram file, that data is also displayed.

If two file numbers are given, the data from the second file is displayed.

If the interactive graphics device has a graphics cursor, the cursor can

be used to selectively label the indices of selected reflections.

---  Qualifier

/WIDTH=P_width

The value of P_width dictates the width where it is expected to

be impossible to discern two overlapped reflections. This should normally

be in the range of one and a half to one quarter of the expected peak FWHM.

/XLOW=low_limit

/XHIGH=high_limit

Defines the plot limits for the x-axis. If either is specified,

the values for plotting limits will not be prompted. Values may be

integers or floating point numbers, but must be included if the

qualifier is specified. The units are degrees two-theta.

/DATASCALE=data_scale

/PEAKSCALE=peak_scale

Defines the plot limits for the y-axis. A value of 1.0 means data/peaks

are plotted so that the maximum value is full scale, 2.0 means a

magnification factor of x2.

A value of 0.0 for peak_scale means that all peaks will be plotted

to full scale.

===> COMMAND  LOGIC

Use this command to invoke the LOGIC program to search the JCPDS database

(without exiting CMPR.)  After exiting from LOGIC, CMPR will be resumed

with all current files still loaded and all current parameters unchanged.

===> COMMAND  MANIP

Use this command to invoke the MANIP program without exiting CMPR.

When exiting from MANIP, the computer will return to CMPR with all

CMPR files still loaded in memory. It is possible to pass a file

from CMPR's list of current files to MANIP and/or pass one or more

files from MANIP back to CMPR.

---  Parameter

file_number

The number of a single file may be specified on the command line

referencing the number of the file to be passed to MANIP. If the file

number is not specified a prompt will be given requesting a file number.

Files must be written on disk in order to be passed. If the file has

been modified and does not exist in the current form on disk,

confirmation will be requested before the file is written.

===> COMMAND  PLOT

Used to produce a plot on either a terminal or on a hard copy device.

Several options are available to determine the format of the plot.

Note that the x-axes for all files to be plotted must all be of the

same type (have the same units) except that if /Q is specified. In

that case files in two-theta units may be mixed with files in Q units.

Command format: PLOT [/qualifiers] [file_list]

---  Parameter

file_list

File numbers may be specified on the command line separated by

commas or spaces:

PLOT 1,2,3

PLOT 1 2 3

PLOT 1 2,3

all of the above are equivalent and valid.

If no files are placed on the command line, a prompt will be

generated for file numbers.

---  Qualifiers

/XLOW=low_limit

/XHIGH=high_limit

Defines the plot limits for the x-axis. If either is specified,

the values for plotting limits will not be prompted. Values may be

integers or floating point numbers, but must be included if the

qualifier is specified. The units are degrees two-theta, unless the

the /Q or /DSPACE option is used.

/Q

Graph will be plotted in Q units (in reciprocal Angstrom) rather than

the x-axis units (typically two-theta).

This parameter is not prompted; plots will be produced in the file x-axis

units, unless /Q, /DSPACE, or /WAVELENGTH is placed on the

command line.

/DSPACE

Graph will be plotted in D-space units (in Angstrom) rather than

the x-axis units (typically two-theta).

This parameter is not prompted; plots will be produced in the file x-axis

units, unless /Q, /DSPACE, or /WAVELENGTH is placed on the

command line.

/WAVELENGTH=wavel

Graph will be plotted in two-theta units at wavelength wavelAngstrom.

This parameter is not prompted; plots will be produced in the file x-axis

units, unless /Q, /DSPACE, or /WAVELENGTH is placed on the

command line.

/XSTACK=x_spacing

/XSTACK

Causes plots to be "stacked" -- drawn on a single set of axes.

x_spacing is the horizontal distance in percent of the full scale

between the zero values in successive plots.

/YSTACK=y_spacing

/YSTACK

Causes plots to be "stacked" -- drawn on a single set of axes.

Y_spacing is the vertical distance in percent of full scale

between the zero values in successive plots.

/NOSTACK

Causes each plot to be put in a separate box.

/RELATIVE

/FIRST

There are two scaling options: They are only applicable if more

than one file is to be plotted:

/FIRST

The maximum intensity for the vertical axis is set from the first

file to be plotted.

/RELATIVE

The vertical axis is set to the maximum point in each plot.

If the plot is "stacked" (see /XSTACK or /YSTACK) the full

scale be increased, if needed to include all files.

Only one of /YHIGH, /FIRST and /RELATIVE can be used.

/YLOW=low_limit

/YHIGH=high_limit

Defines plot limits for the y-axis. low_limit and high_limit are

the minimum and maximum number of counts that can fit on the plot

axes. (These numbers need not be integers and are not prompted.)

If /YLOW is not specified, low_limit will be 0.

If /YHIGH is not specified, high_limit will depend on options

for /XSTACK or /YSTACK.

Cannot be used with /FIRST or /RELATIVE.

/SIZE=(X_len,Y_len,X_mar,Y_mar)

/SIZE=(X_len,Y_len)

/SIZE

Used to specify the size of the plot in inches. X_len and Y_len

are the lengths of the x- and y-axes, respectively.

Y_mar and X_mar are the margins below and to the left of the

axes. (The default margins are 1 inch.) These numbers may be

floating point numbers.

The command can be used two ways, if /SIZE is used without any

values, CMPR will prompt for values. If values are specified

on the command line, both X_len and Y_len must be specified.

X_mar and Y_mar are optional, but X_mar must be specified

before Y_mar.

It is the user's responsibility to insure that the requested size

is compatible with the graphics device.

/TITLE

/NOTITLE

Plot(s) will be labeled with the TITLE for (each) file.

/FILE

/NOFILE

Controls if file names will be shown for each plot in the upper

right corner.

/CLIP

Segments of the plot that lie outside the plot axes may "squared off"

(clipped) at the axis limit (/CLIP) or may be simply omitted (/NOCLIP).

/LINEAR

/LOG

/SQRT

The intensity scale can plotted proportional to the number of

counts (/LINEAR), logarithmic units (/LOG) or proportional to

the square-root of the number of counts (/SQRT).

Plots will be made in /LINEAR mode, unless /LOG or /SQRT is

specified.

/GRID

Grid hash marks will be drawn if /GRID is specified.

Default is /NOGRID (Not prompted).

/HARD

If /HARD is specified, graphics will be sent

to the default hardcopy device, rather than displayed the terminal.

===> COMMAND  QUIT

Type QUIT (which can be abbreviated to Q) to quit the program. Unlike

the exit command, you will not be prompted to write any files that have

been modified or created within the program.

===> COMMAND  READ

Used to read one or more new files into the list of available file

names. (Assuming there is still space in the list for additional files.

If not, first use the DELETE command to make room.)

usage:

READ [filename1] [,filename2] [,filename3],...

---  Parameter

file_name

file_name_1, file_name_2,... file_name_8

Files may be specified on the command line. If no files are specified,

a prompt will be given requesting a file name to read.

file_name may be VMS filename or logical name or a JCPDS-ICDD entry

number. For interactive input, a question mark (?)may be used to see

help information and if a wildcard is used (* or %), a directory

listing is shown.

If file_name is a VMS filename it can be of form FILE.EXT or

DEV:[DIR]FILE.EXTENSION;2 -- subject to a limitation that the

file name must not exceed 80 characters.

It is usually preferable to supply the file name without a file

extension, as the default extension will then depend on the file

format. This improves the speed that the program has available

when searching for the file.

The subroutines which read data and peak files, (subroutines

READDATA and READPEAK respectively), will attempt to determine

the format of the file from the file contents and the extension.

More than one file name can be specified on the command line, but

names must be separated by commas. If more file names are specified

than may be read, the extra names will be ignored.

Filenames may not be specified if the /JCPDS qualifier is used.

---  Qualifier

/FORMAT=fileform

This optional qualifier may be used to specify the file format that will

be used for reading the file(s). If more than one file is given and

/FORMAT is used, all files must all be in the specified format.

In most cases it is not necessary to specify the file format, as the

program will discern the file format from the file. However, in certain

cases where problems are encountered, it may be necessary to use the

format option.

File formats may not be specified if the /JCPDS qualifier is used.

/JCPDS=card_list

/JCPDS

Use this qualifier to select entries using their ICDD-JCPDS entry number.

The entry number is always a five or six digit number consisting

of the "old" entry number plus 10,000 times the set number. For

example, entry 413 in set 7 would be coded as:

---  Examples

READ group.mother\FORMAT=DUPONT

READ

READ/JCPDS=(271402,400001)

READ group.mom,[.test]exper.fil,somewhere:overthe.rainbow;1

===> COMMAND  SCALE

Rescales the x and/or y values for a data file.

---  Parameter

file_number

The number of a single file to be rescaled may be specified on the

command line. If the file number is not specified a prompt will be

given requesting a file number.

---  Qualifiers

/YMULT=Y_Factor

/YOFFSET=Y_Offset

Rescales the y-values in the file from by first adding the offset

(Y_Offset) and then by multiplying the y-values by the multiplier

(Y_Factor).

If not specified, Y_Offset defaults to 0.0 and Y_Factor defaults

to 1.0. If neither value is specified, a prompts will be generated

for values.

/XMULT=X_Factor

/XOFFSET=X_Offset

Rescales the x-values in the file from by first adding the offset

(X_Offset) and then by multiplying the x-values by the multiplier

(X_Factor).

If not specified, X_Offset defaults to 0.0 and X_Factor defaults

to 1.0. If neither value is specified, a prompts will be generated

for values.

===> COMMAND  SIMULATE

This option is used to construct a simulated diffraction pattern from

a set of peak positions and intensities. The peak positions may be

generated by an external program, such as Lazy/Pulverix, read from the

JCPDS-ICDD data base, or obtained from an experimental source.

The peak positions must be loaded into one or more files using the READ

command. This command may then be used to construct a simulated pattern

by convoluting that data. More than one set of peaks may be combined to

simulate a mixture, in which case weights for each file may be specified.

If one or more files will be combined, or the file to be convoluted already

has a corresponding diffraction pattern, a new file will be created. If

only one file is used and no diffractogram is present for that file,

the diffractogram will be added to the same file as the peaks

The command format is:

SIM [file_1] [file_2]... [file_8] [/qualifiers]

---  Parameter

file_list

File numbers may be specified on the command line separated by

commas or spaces.

If no files are placed on the command line, a prompt will be

generated for file numbers.

---  Qualifiers

/RANGE=(x_min,x_max)

/RANGE

Specifies the two-theta range of the simulated pattern. If only x_min

is specified, x_max defaults to the largest x value in file #1.

If both numbers are omitted, both default to the same as file #1. The

numbers may be specified as floating point.

/WEIGHT=(Wt_2,Wt_1,...Wt_n)

Specifies the weights for the n files to be convoluted. The default value

is 100.

/STEP=step_size

/STEP

Specifies the two-theta step size for the simulated pattern in units of

degrees. If the value is omitted, the default is the same as the

step size in file number #1. step_size should always be less than

1.0 but greater than 0.

/CAUCHY=(p_wid,p_ang)

/CAUCHY

/GAUSSIAN=(p_wid,p_ang)

/GAUSSIAN

Selects the peak profile as either Lorentzian (Cauchy) or Gaussian

(not both). If both p_wid and p_ang and are specified, peaks at

angle p_ang will have a WIDTH of p_wid degrees. If both numbers

are not specified, the NBS width table will be used. Either number

may be floating point.

/OFFSET=offset_val

A fixed integer offset of offset_val counts can be added to the

simulated pattern. Cannot be used with /AMORPHOUS.

/AMORPHOUS=(a_wid,a_ang,a_int)

Specifies that a broad peak simulating amorphous scattering

be added to the simulated pattern. A peak will be placed at

angle a_ang, with width a_wid and intensity a_int. The default

values for a_ang, and a_wid are 25 and 30 degrees two-theta

respectively, for a_int it is 2 percent of full scale. Any of these

numbers may be floating point values.

Cannot be used with /OFFSET.

/WAVELENGTH=wave_length

A single wavelength may be specified, where wave_length is the

x-ray or neutron wavelength in Angstrom. If wave_length is used,

/TARGET and /WTYPE should not. (The target_type will be assumed

to be SY for synchrotron radiation).

/TARGET=target_type

/TARGET

Specifies an x-ray target for conventional x-ray sources.

The choices for targets are:

Cu, Mo, Ni, Co, Fe, Cr, Ag, NU, or SY.

Specifying /TARGET without a target_type is equivalent to

/TARGET=CU. (Capitalization of the target type is ignored.)

If NU or SY (for neutron or synchrotron radiation) is used,

the program prompts for a wavelength. This option cannot be used if

a wave_length value is specified using /WAVELENGTH.

/WTYPE=wave_type

wave_type may be either 1, 2, 3 or 4 which determines

the exact value used for the wavelength specified with /TARGET.

The choices are:

1 to use K alpha 1 radiation

2 to use K alpha 2 radiation

3 to use the intensity weighted average of K alpha 1 and K alpha 2\

radiation.

4 to use both K alpha 1 and K alpha 2 radiation.

Specifying /WTYPE without a value is equivalent to /WTYPE=4.

This qualifier is ignored if the radiation source has a single

wavelength, (e.g. /TARGET=NU or /TARGET=SY) and cannot be used

if /WAVELENGTH is specified.

/NOISE=sig_level

/NOISE

Used to add random noise to the simulated diffractogram.

Noise will be added at a level of sig_level standard deviations.

sig_level may be floating point and defaults to 2.0

/MAXIMUM=max_count

/MAXIMUM

This qualifier is used to set the maximum intensity in the pattern

after scaling to max_count. The value for max_count must be an

integer, if not specified it defaults to 5000 counts.

---  Examples

SIMUL

SIM 7,413

SIM 7,413,50 7,414,50/CAUCHY/TARGET=MO

===> COMMAND  SUBTRACT

Used to subtract two files. The file numbers can be entered on

the command line or can prompted. File numbers may be separated by

either spaces or commas (or both).

SUB 2 4    is equivalent to

SUB 2,4

(file #4 will be subtracted from file #2)

---  Qualifiers

/TITLE="file_title"

This option is used to specify a title line for the the new file

/SCALE=scale_factor

The intensities in second file will be multiplied by scale_factor.

The scale_factor need not be an integer, but should be greater than

zero.

/OFFSET=offset_val

A fixed offset can be added (offset_val greater than zero) or

subtracted (offset_val less than zero) to the resultant

diffractogram after the two files are subtracted. offset_val will

be added to each point; offset_val may be a floating point number.

If /MINIMUM is used with /OFFSET, the offset, offset_val,

is added after subtracting the minimum intensity from all points,

thus if the command SUB/MIN/OFF=100  is used, the lowest

intensity point in the pattern will have an intensity of 100.

/MINIMUM

Subtracts the intensity of the least intense point from all points

in the diffractogram.

/IGNORE

/CLIP

Action to be taken if negative intensities are present. If /CLIP

is used, negative intensities are set to zero, if /IGNORE is used,

they are left unchanged. These options cannot be used if /MINIMUM

is used (which will prevent negative intensities by shifting the

pattern up). If /OFFSET and /CLIP are both used, offset_val

will be added after negative points are clipped to zero.

===> COMMAND  TITLE

Used to change the title of a file. The format of this command is:

TITLE [file_number] title

The title can be specified on the command line only if preceeded by a

file number, but neither must be specified. At this time, any lower case

letters used in the title will be converted to uppercase.

---  Examples

TITLE 1 This is the new title for file number 1

Note that the title will be converted to all

capital letters.

TITLE 1

using this version, the title will be prompted.

TITLE

Prompts will be generated for the file number

and the title.

===> COMMAND  WAVELENGTH

Used to enter a default wavelength for the READ and SIMULATE command.

---  Parameter

wave_length

A single wavelength value may be specified directly, where wave_length

is the x-ray or neutron wavelength in Angstrom. (The target_type will be

assumed to be SY for synchrotron radiation).

If 0.0 is used for the wave_length, the program will enter d-space

mode (same as specifying WAVELENGTH/NOTARGET).

If wave_length is used, /TARGET and /WTYPE should not.

---  Qualifiers

/TARGET=target_type

/TARGET

/NOTARGET

Specifies an x-ray target for conventional x-ray sources.

The choices for targets are:

Cu, Mo, Ni, Co, Fe, Cr, Ag, NU, or SY.

Specifying /TARGET without a target_type is equivalent to

/TARGET=CU. (Capitalization of the target type is ignored.)

If NU or SY (for neutron or synchrotron radiation) is used,

the program prompts for a wavelength.

For input/output using d-spacings specify /NOTARGET

The /TARGET option cannot be specified with a wave_length value.

/WTYPE=wave_type

wave_type may be either 1, 2 or 3 which determines

the exact value used for the wavelength specified with /TARGET.

The choices are:

1 to use K alpha 1 radiation

2 to use K alpha 2 radiation

3 to use the intensity weighted average of K alpha 1 and K alpha 2

radiation.

Specifying /WTYPE without a value for wave_type is equivalent

to specifying /WTYPE=1.

This qualifier is ignored if the radiation source has a single

wavelength, (e.g. /TARGET=NU or /TARGET=SY) or a

wave_length value is specified.

---  Examples

WAVELENGTH/TARGET=CU/WTYPE=3

The wavelength will be set to the average of Cu K alpha 1 and

K alpha 2.

WAVELENGTH/TARGET

The wavelength will be set to Cu K alpha 1

WAVE/NOTAR

Peaks positions, etc. will be displayed as d-spaces.

WAVE 0.0

Peaks positions, etc. will be displayed as d-spaces.

WAVE 2.5401

The wavelength will be set to 2.5401Angstrom.

WAVE

The user will be prompted to choose a wavelength or two use

d-spacings.

WAVELENGTH/TARGET=NU/WTYPE=3

The user will be prompted to enter a wavelength; the /WTYPE=3

qualifier will be ignored.

===> COMMAND  WRITE

Write one of the "files" in memory (from the table of available

files) onto disk.

---  Parameter

file_number

The number of a single file may be specified on the command line

referencing the number of the file to be written. If the file number

is not specified a prompt will be given requesting a file number.

---  Qualifiers

/FILENAME=file_name

The name to be used for the file. This overrides the name already

associated with the file and will replace that name. If /FILENAME is

not specified and CMPR is run interactively, a prompt will be

generated for the name of the file.

/BINARY

/NBS

/PROFPV

/GSAS

/JONES

/PEAKS

Determines the format of the file to be written. If CMPR is run

in MANUAL mode (see command DEFAULT) and none of these options is

specified, a prompt will be generated. (In AUTO mode the default is

/BINARY)

/BINARY writes a file in du Pont format

/PEAKS  Writes an ASCII file with just the peak information.

---  Examples

WRITE 1

This command causes file #1 to be written. The

file name and format will be prompted for (in

MANUAL mode).

write 7/BIN/FILE=tmp:copy.bin

This command causes file #7 to be written

as TMP:COPY.BIN in binary format.

WR/NB

This command causes file #1 to be written in

"NBS" format. The file number will be prompted

for and in MANUAL mode, so will the file name.